| A. Site and Grounds Maintenance Task Checklist |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building Name: __________________________________ |  |  |  |  |  |  |  |  |  |
| Inspected by: ____________________________________ Title: _____________________________________________ |  |  |  |  |  |  |  |  |  |
| Item |  |  | Maintenance Task (as needed) |  |  | Date |  |  | Inspection / Notes Action Taken / Notes |
| A1 |  |  | Remove and dispose of all fallen tree limbs, dead shrubs, etc. |  |  |  |  |  |  |
| A2 |  |  | Trim and prune shrubs and trees |  |  |  |  |  |  |
| A3 |  |  | Repair parking lots and driveways |  |  |  |  |  |  |
| A4 |  |  | Reseed and fertilize lawn |  |  |  |  |  |  |
| A5 |  |  | Obtain contract bids for summer yard care and landscaping (if required) |  |  |  |  |  |  |
| A6 |  |  | Service all lawnmowers and miscellaneous lawn care equipment |  |  |  |  |  |  |
| A7 |  |  | Clean all site drains |  |  |  |  |  |  |
| A8 |  |  | Check and service playground equipment |  |  |  |  |  |  |
| A9 |  |  | Repair and/or paint fences, gates, railings, statues, etc. |  |  |  |  |  |  |
| A10 |  |  | Repair any sidewalks that exhibit a vertical change over 1/4 inch. Power wash sidewalks as needed. |  |  |  |  |  |  |
| A11 |  |  | If standing water exists near any buildings, verify that no nearby gutters or downspouts are plugged, and that ground level piping extends at least 6 feet away from foundation |  |  |  |  |  |  |
| A12 |  |  | Repair retaining walls, fences or gates as required |  |  |  |  |  |  |
| A13 |  |  | Pump out septic tanks at least every 4 years |  |  |  |  |  |  |
| A14 |  |  | Repaint fire lane and parking striping as required |  |  |  |  |  |  |
| B. Building Exterior Maintenance Task Checklist |  |  |  |  |  |  |  |  |  |  |
| Building Name: __________________________________ |  |  |  |  |  |  |  |  |  |  |
| Inspected by: ____________________________________ Title: _____________________________________________ |  |  |  |  |  |  |  |  |  |  |
| Item |  |  | Maintenance Task (as needed) |  |  | Date |  |  | Inspection / Notes Action Taken / Notes |  |
| B1 |  |  | Remove or install storm windows, screens and awnings |  |  |  |  |  |  |  |
| B2 |  |  | Wash exterior building walls and windows |  |  |  |  |  |  |  |
| B3 |  |  | Repair cracks around windows and doors |  |  |  |  |  |  |  |
| B4 |  |  | Paint building exterior as required |  |  |  |  |  |  |  |
| B5 |  |  | Cut back tree limbs resting or overhanging buildings and roofs |  |  |  |  |  |  |  |
| B6 |  |  | Clean roofing areas including valleys, drains, gutters and downspouts |  |  |  |  |  |  |  |
| B7 |  |  | Perform necessary roof repairs |  |  |  |  |  |  |  |
| B8 |  |  | Lubricate exterior door hinges and hardware |  |  |  |  |  |  |  |
| B9 |  |  | Repair broken, cracked or chipped glass |  |  |  |  |  |  |  |
| B10 |  |  | Repair loose or disintegrated mortar |  |  |  |  |  |  |  |
| B11 |  |  | Repair loose or missing sealants at building penetrations |  |  |  |  |  |  |  |
| B12 |  |  | Verify locks on exterior doors and windows work properly |  |  |  |  |  |  |  |
| B13 |  |  | Additional space provided for customization |  |  |  |  |  |  |  |
| B14 |  |  |  |  |  |  |  |  |  |  |
| B15 |  |  |  |  |  |  |  |  |  |  |
| C. Building Exterior Inspection Checklist |  |  |  |  |  |  |  |  |  |  |
| Building Name: __________________________________ |  |  |  |  |  |  |  |  |  |  |
| Inspected by: ____________________________________ Title: _____________________________________________ |  |  |  |  |  |  |  |  |  |  |
| Maintenance Inspections: If any of the following maintenance inspection observations are present, the parish should contact an appropriate professional for estimates and repairs. The parish should also contact the Office of Property & Construction for guidance in creating a long-term capital budget plan. Inspection notes and resolution actions should be included. |  |  |  |  |  |  |  |  |  |  |
| Item |  | Maintenance Inspection (as needed) |  |  | Date |  |  | Inspection / Notes Action Taken / Notes |  |  |
| C1 |  | Do foundation walls show signs of large cracks in masonry, bricks or stones? |  |  |  |  |  |  |  |  |
| C2 |  | Do any foundation walls show signs of flaking mortar or concrete? |  |  |  |  |  |  |  |  |
| C3 |  | Are there any signs of foundation movement, bulging or bowing? |  |  |  |  |  |  |  |  |
| C4 |  | Are there any signs of foundation water leaks, stains or discoloration? |  |  |  |  |  |  |  |  |
| C5 |  | Are interior basement, crawl spaces or foundation walls damp or show mold stains, or mildew odors? |  |  |  |  |  |  |  |  |
| C6 |  | Are insect tubes visible along foundation walls? |  |  |  |  |  |  |  |  |
| C7 |  | Do any exterior frame walls show rot, or deterioration of sills, siding, walls or wood molding? |  |  |  |  |  |  |  |  |
| C8 |  | Do any exterior frame walls show cracked, split or buckled siding boards? |  |  |  |  |  |  |  |  |
| C9 |  | Are there any piles of sawdust? |  |  |  |  |  |  |  |  |
| C10 |  | Are exterior frame wall cavities insulated? |  |  |  |  |  |  |  |  |
| C11 |  | Is paint blistered or peeling on exterior frame walls? |  |  |  |  |  |  |  |  |
| C12 |  | Are there gaps or holes around any roof penetrations, chimneys, or vents? Is there any evidence of water? |  |  |  |  |  |  |  |  |
| C13 |  | Are there signs of sagging or movement in the roofing material? Are flashings or caulking separated, loose, or missing? |  |  |  |  |  |  |  |  |
| C14 |  | Does the roof and/or attic have proper ventilation? |  |  |  |  |  |  |  |  |
| C15 |  | For Built Up Roofs, Are there blisters, bubbles, cracks, splits, or seams in roofing membranes? Is there evidence of standing or ponding water? Are roof drains clear and operating properly? Does the roof feel “squishy” under foot? Is there any vegetation growing through the roof? |  |  |  |  |  |  |  |  |
| C16 |  | For slate roofs, are there broken, missing, or loose slates? Are ridge roofs loose, deteriorated, or rusted? Are there sections patched with asphalt? |  |  |  |  |  |  |  |  |
| C17 |  | For metal roofs, are metal roof sheets rusted? Are there signs of holes, pitting, or cracking, open joints or defective fasteners? |  |  |  |  |  |  |  |  |
| C18 |  | For exterior doors and windows, Are flashings over doors and windows cracked, missing, or rusted? Are trim, sills or caulking around doors and windows split, loose, or deteriorated? |  |  |  |  |  |  |  |  |
| C19 |  | For exterior doors and windows, Is there broken or cracked glass? Do doors and windows lock properly? Do doors and windows operate and seal properly? Are screens, shutters and other exterior window attachments secure? |  |  |  |  |  |  |  |  |
| C20 |  | Are parapet walls cracked or do chimneys lean? |  |  |  |  |  |  |  |  |
| C21 |  | Are bricks loose or spalling? Do mortar joints require re-pointing? Are flashings missing, loose, or damaged or is there evidence of moisture penetration? |  |  |  |  |  |  |  |  |
| C22 |  | Are there loose, pitted, rotted, or missing gutters and downspouts? Do gutters sag or downspout joints leak? Do gutters or downspouts require repainting? Do splash blocks/drains under downspouts divert water properly? |  |  |  |  |  |  |  |  |
| C23 |  | Are the exterior attachments (cables, canopies, alarms, lights, other) in good condition and secured to the building? |  |  |  |  |  |  |  |  |
| C24 |  | Are lightning rods and cables intact? |  |  |  |  |  |  |  |  |
| C25 |  | Do porches, stairs, or balconies require painting? Is porch floor structure decayed or weak? Are stair treads loose or broken? Are column bases in need of repair? Are railings broken, weak or loose? Are balusters broken, loose, or missing? |  |  |  |  |  |  |  |  |
| C26 |  | Additional space provided for customization |  |  |  |  |  |  |  |  |
| C27 |  |  |  |  |  |  |  |  |  |  |
| C28 |  |  |  |  |  |  |  |  |  |  |
| C29 |  |  |  |  |  |  |  |  |  |  |
| C30 |  |  |  |  |  |  |  |  |  |  |

| D. Building Interior Maintenance Task Checklist |  |  |  |
| --- | --- | --- | --- |
| Building Name: __________________________________ |  |  |  |
| Inspected by: ____________________________________ Title: _____________________________________________ |  |  |  |

| Item | Maintenance Task (as needed) | Date | Inspection / Notes Action Taken / Notes |
| --- | --- | --- | --- |
| D1 | Clean windows, draperies, blinds, etc. |  |  |
| D2 | Clean ashes from fireplaces and incinerator ash pits |  |  |
| D3 | Service all mechanical ventilating equipment |  |  |
| D4 | Clean carpet |  |  |
| D5 | Remove debris and combustibles from all areas including doorways, stairways, furnace and utility rooms, around heating equipment, radiators, flues, chimneys and electrical panels |  |  |
| D6 | Perform test on building sprinkler system and service if required |  |  |
| D7 | Service HVAC units, including changing filters and verifying condensate drains are not clogged |  |  |
| D8 | Replace leaking faucets, etc. |  |  |
| D9 | Replace burned out light bulbs |  |  |
| D10 | Inspect and clean out grease traps |  |  |
| D11 | Repair or replace broken fixtures |  |  |
| D12 | Inspect and/or service kitchen exhaust hoods and fire suppression systems |  |  |
| D13 | Check for up-to-date electrical panel schedule |  |  |
| E. Building Interior Inspection Checklist |  |  |  |  |
| Building Name: __________________________________ |  |  |  |  |
| Inspected by: ____________________________________ Title: _____________________________________________ |  |  |  |  |

| Maintenance Inspections: If any of the following maintenance inspection observations are present, the parish should contact an appropriate professional for estimates and repairs. The parish should also contact the Office of Property & Construction for guidance in creating a long-term capital budget plan. Inspection notes and resolution actions should be included. |  |  |  |
| --- | --- | --- | --- |
| Item | Maintenance Inspection (as needed) | Date | Inspection / Notes Action Taken / Notes |
| E1 | Are floor joists warped, cracked, or sagging? Is floor joist blocking and bridging secure? Is there visible separation between floors and walls at base trim? Do floors squeak or creak? |  |  |
| E2 | Are masonry and tiles floors cracked, broken, or worn? Is wood flooring warped, separated, or badly worn? Is carpet loose, torn, or badly worn? |  |  |
| E3 | Are interior walls water stained? Are there visible cracks? Are surfaces peeling or dirty? Is wall finish buckled or loose? |  |  |
| E4 | Are interior ceilings water stained? Are there visible cracks? Are surfaces peeling or dirty? Is ceiling structure sagging or separating? Is ceiling tile grid secure? Are there damaged ceiling tiles? Are light fixtures secure? |  |  |
| E5 | Do interior doors bind? Do doors have loose or missing hinges, knobs, or locks? Is there evidence of mold or discoloration around windows and/or doors? |  |  |
| E6 | Do interior rafters, floor joists and sheathing show sign of water stains, warping, cracking or sagging? |  |  |
| E7 | Is there evidence of leaking around any roof penetrations including vents, ducts, chimneys, etc.? |  |  |
| E8 | Is attic floor insulated? |  |  |
| E9 | Are attic fans or vents operating properly? Is attic free of debris and unused combustible items? Are off-season and other materials stored neatly and away from heat? |  |  |
| E10 | Is crawl space and/or basement damp, wet, or water stained? Is there evidence of water entering through the crawl space, basement walls, or floors? Does water or snowmelt drain into basement from window wells? Is crawl space and/or basement floor cracked or disintegrated? |  |  |
| E11 | Are there water leaks at bathroom fixtures, faucets or pipes? |  |  |
| E12 | Do flush valves/faucets work properly? |  |  |
| E13 | Are any drains clogged? |  |  |
| E14 | Do wires on appliances and equipment show fraying, splits or bare wires? Do electrical outlets, switches and boxes operate properly and have cover plates? |  |  |
| E15 | Are fire extinguishers and emergency lighting present and inspections up-to-date? |  |  |
| E16 | Additional space provided for customization |  |  |